### HENRY’S HAUNT

HARTHILL HALL

DERBYSHIRE

FIRE RISK ASSESSMENT

Henry’s Haunt

Harthill Hall

Derbyshire

Fire Risk Assessment.

- People at Risk

  - The Owners who undertake maintenance and up-keep. They will use flammable and combustible materials on rare occasions but these are not left on the premises whilst the property is occupied by guests.

  - Paying guests, including children. Guests may have restricted mobility. Mobility limitations are discussed before reservation and opportunities for reasonable adjustment explored.

- Fire Risk

  - Combustibles / Flammables.

    - The fabric of the building is stone, negligible combustibility.

    - The roof supports are timber.

    - Curtains in the bedroom and at the back door believed to be fire retardant.

    - Stone and tiled floors throughout.

    - The kitchen fittings are wooden with a composite worktop.

    - The bedroom fittings are wooden antique

    - Bedding is fire retardant.

    - The bathroom fittings are ceramic (toilet and wash-basin), Acrylic shower tray with tempered glass shower screen

    - Upholstery is fire retardant.

x.   LPG Gas supply inspected and checked.

xi.   Aerosols are used when cleaning, for the duration of the

cleaning only.

xii   Agents containing flammable solvents needed occasionally

eg, for maintenance but not left on site.

  - Ignition sources.

    - Electrical installation.

    - Portable electrical appliances in all rooms.

    - Oven, separate hob, portable cooking appliances ie toaster.

- Control Measures.

    - The electrical installation is understood to be to British Standard.

    - The cooker and related equipment are to a good standard and inspected/maintained at each change of occupancy.

    - Portable electrical appliances are checked annually for earth continuity, earth leakage and visual inspection.

    - Agents containing flammable solvents, e.g. for maintenance, are removed from the property after use.

    - There is a smoke detector in the kitchen which is tested by the maintenance team on duty at each change of occupancy.

    - Fire extinguisher and fire blanket situated in the kitchen

    - This risk assessment is scheduled for an annual review.

    - The Emergency Contact Number is: 07703 126635.

- Statement of residual risk.

It is the owners’ assessment that:

- All combustible and flammable materials have been identified.

- All ignitions sources have been identified.

- Satisfactory control measures are implemented and maintained.

- Whilst structural integrity would eventually be compromised in the event of a prolonged fire, control measures, escape routes and warnings are such that the risks to personal safety are minimal.

- For these reasons and subject to up-keep of the control measures, the residual risk is deemed to be acceptable.

Assessed by: L Miller

Date:	05/05/22

Review due:	05/05/23